## Slide 1
MSF - Decarbonization Solutions - FactSheets
Energy & Buildings
OUR COMMITMENT to 2030
WHY it’s important
  Favour sustainable constructions and design that optimize infrastructure for Field realities
    Develop guidelines for products that can be used in buildings
  Reduce energy consumption of buildings and redefine temperature standards in offices, guesthouses, medical facilities and pharmacies
    Improve energy performance through sustainable design and passive measures
  Reduce energy consumption & improve energy efficiency
    Monitor energy consumption and production
    Install automated regulation of electrical equipment & purchase energy efficient equipment
    Promote responsible behaviours across MSF.
  Decarbonise electricity & energy production
    Replace as possible fossil fuel-based electricity with renewable energy & use decarbonated energy suppliers
    Use solar energy where applicable and optimize power source sizing
  Reduce emissions of gases with high global warming potential
    Purchase air conditioning and cold chain equipment with alternatives for HFC gas & Ensure responsible commissioning, maintenance, and decommissioning
    Use local, national, and regional recycling channels
Switch to LED lighting, which uses 75% less energy and lasts 25 times longer than incandescent bulbs, helping us reduce energy consumption and lower costs.
Reducing energy consumption and transitioning to renewable sources (like solar) helps cut operational costs.
Energy-efficient buildings and optimized infrastructure are more reliable and makes us less dependent on fuel sources.
Reducing emissions from electricity and diesel generators improves air quality and reduces noise pollution.
Electricity purchases and diesel generators contributing 13% to MSF's CO₂ emissions as for 2019 baseline.
HOW? A Few recommendations
  60-70% of the energy used from renewable sources or a 60-75% reduction in CO2/kWh
  Energy consumption reduction of 30-40%
WHAT? MSF RoadMaps solutions
Adjusting office temperatures by just 1-2°C you can reduce heating and cooling energy consumption by up to 20%. Don't forget to close windows and doors!!
Using Passive design, like natural ventilation and reflective roofs, you can cut cooling energy by up to 50% in tropical climates.
Energy transition is a priority.
We will cut energy use, while promoting responsible behavior and using efficient system, and then shift to renewables.
(World Green Building Council)
(International Energy Agency)
(U.S. Department of Energy).)