## HOW TO
How to use this file efficiently?
1 | The four tabs correspond to the four pillars or categories of mitigation activities making part of the roadmap.
2 | Those mitigation actions are just for your inspiration. You don't have to strive at implementing them all. Filter by the ones most relevant for your Partner Section.
3 | Apply your own, internal prioritization of chosen mitigation actions. The one proposed in col. C is just Climate Smart recommendation.
4 | Columns F-L give you a regional contextualization whenever pertinent, when available/necessary with references to specific cities, being just examples.

## PROJECTS&PROGRAMS
STRATEGIC GOAL | ACTION ID # | PROPOSED PRIORITY | SPECIFIC MITIGATION ACTION | Implementation Guidance | Europe | Latin America | North America | Africa | South Asia (e.g. New Delhi) | East Asia (e.g. Hong Kong & Tokyo) | Australasia (e.g. Sydney)
Energy saving and office building optimization | 1 | Medium | Energy audits | If your Partner Section does not own the building or is not its sole owner, make sure the owner or the co-owners agree on the audit and provide the necessary data described in the below steps. 1) Pre-Audit Preparation - Collate historical energy consumption data for the past five years, where possible, whilst compiling information on building layout (floor area/programme), description of installed MEP systems and occupancy. Levels of detail may vary here. Select a facilities manager or external certified energy auditor to undertake the audit. 2) Conduct the Audit - Identify and document all energy-consuming equipment, such as Heating, Ventilation, and Air Conditioning (HVAC) systems, lighting, office equipment, and appliances. If the PS is able to contract an external auditor, provide a walkthrough of the entire facility, including the energy systems and fabric components. For energy systems, gather energy consumption readings for the identified equipment. Use energy monitoring systems to measure real-time energy consumption of different systems. Undertake a visual inspection of the nature and condition of building fabric components, including window damage or seal gaps, insulation gaps or degradation, and air leakage paths. If the equipment is available, use diagnostic tools such as thermal imaging to identify heat loss and areas with poor insulation or a door blower test kit to assess air tightness. Finally, interview facility managers, maintenance staff, and employees to gain insights into operational practices and identify potential areas for improvement. 3) Set Up Ongoing Monitoring Process. Define a key person to provide monthly/yearly updates on energy consumption data and significant changes to building fabric or energy consuming systems. Define a simple and repeatable process that can be followed. | You'll find more energy-related information, contacts, materials and tools on this SharePoint page https://msfintl.sharepoint.com/sites/ClimateSmartMSF/SitePages/Energy-Transition.aspx
[5 empty] | Europe generally has robust and highly-supportive policy that promotes energy efficiency. Relevant energy efficiency resources: Energy Efficiency Directive - https://energy.ec.europa.eu/topics/energy-efficiency/energy-efficiency-targets-directive-and-rules/energy-efficiency-directive_en#heating-and-cooling-supply Energy Performance of Buildings Directive - https://energy.ec.europa.eu/topics/energy-efficiency/energy-efficient-buildings/energy-performance-buildings-directive_en | In Brazil, the country has an energy reduction goal of 10% by 2030, However, government expenditure in energy efficiency remains very low compared to other countries analysed. The lack of energy efficiency incentives such as tax credits makes it difficult for Brazil to reach its efficiency potential. Energy policy in Brazil largely emphasizes renewable energy production, especially in its electricity and transportation sectors. The PotencializEE programme in Brazil enables energy auditors to get accredited to accelerate energy efficiency measures. In Latin America, varying levels of economic development and regulatory environments may affect the effectiveness of energy audits and efficiency interventions. Given Latin America’s diverse energy sources and remaining dependency on fossil-fuels, decarbonisation efforts in energy efficiency can have a large impact. Digitalisation has the potential to contribute to energy efficiency in Latin America as it lowers operational costs. | Both Ontario and New York have very strict and supportive energy conservation policies. These are hosted under the overall climate plans and ambitions. Further resources are available: - Toronto Buildings Energy, Emissions & Resilience: https://www.toronto.ca/city-government/planning-development/official-plan-guidelines/toronto-green-standard/toronto-green-standard-version-4/city-agency-corporation-division-owned-facilities-version-4/buildings-energy-emissions-resilience/ - New Effiency: New York https://www.nyserda.ny.gov/New-Efficiency | Energy audits are mandated for certain large companies in Kenya. The Kenya Vision 2030 sets goals to improve overall energy efficiency https://vision2030.go.ke/. Incentives to improve energy efficiency and reduce unnecessary energy demand are prevalent in the region. In South Africa, the National Energy Efficiency Strategy also sets targets for an improvement of energy usage. Regional considerations include the need for energy effiency to manage energy supply issues. See further resources: - Renewable Energy and Energy Efficiency Partnership (REEEP): https://reeep.org/ | The Delhi government has been promoting green building standards and energy efficiency in new construction. This includes the adoption of the Energy Conservation Building Code (ECBC) which mandates energy-efficient designs and technologies. The Delhi government provides various subsidies and incentives to encourage the adoption of renewable energy and energy-efficient technologies : https://www.mercomindia.com/delhi-new-solar-policy | Both Hong Kong and Tokyo are aiming to reduce energy consumption in the built environment. Overall, both countries have specific government incentives for energy efficiency. Hong Kong's Energy Efficiency and Conservation Policy stipulates a carbon neutrality goal before 2050. Further Resources: - Hong Kong Buildings Energy Efficiency Ordinance - Hong Kong Energy End-use Data and Consumption Indicators https://www.emsd.gov.hk/en/energy_efficiency/energy_end_use_data_and_consumption_indicators/energy_consumption_indicators_benchmarks/index.html - Energy in Japan https://www.enecho.meti.go.jp/en/category/special/article/detail_171.html | Energy efficiency and energy productivity are addressed in various Australian policies and ambitions. For example, the National Energy Productivity Plan (https://www.iea.org/policies/1240-national-energy-productivity-plan), and BASIX standards on water, energy and thermal performance (https://www.planningportal.nsw.gov.au/development-and-assessment/basix). Financial incentives, such as government rebates and low-interest loans for energy efficiency projects are intended to accelerate the improvement of sustainable energy consumption.
| 2 | Medium | Installation of energy monitoring systems to identify, characterise and manage inefficiencies | If your Partner Section does not own the building or is not its sole owner, make sure the owner or the co-owners agree on the installation of the energy monitoring systems and only then get down to the steps described below. 1) Assessment and Planning - Identify energy consuming systems (i.e., Mechanical, electrical and plumping systems). Allocate available budget and resources to install energy monitoring systems or practices. 2) Installation of Monitoring Equipment - Based on the available budget and resources, scan, appraise and select the most appropriate energy monitoring equipment and software. If minimal resources are available, this can amount to the collation of annual utility bills. Where resources are more abundant, this can include the installation of equipment submeters and sensors with an integrate into a Buildings Management System (BMS). 3) Data Collection and Analysis - Establish a baseline for energy usage from the data outputs of the monitoring equipment, whilst monitoring the initial data for accuracy and completeness. Use the energy data to identify patterns, peak times, and inefficiencies 4) Reporting and Optimisation - Generate and distribute energy usage reports to relevant internal stakeholders. Use insights from analysis to implement targeted energy-saving measures (e.g., adjusting HVAC settings, upgrading lighting, installing lighting motion sensors, etc).
| 3 | Medium | Onsite renewable electricity supply: solar panels installation | If your Partner Section does not own the building or is not its sole owner, make sure the owner or the co-owners agree on installing the solar panels. Once the permission to proceed is received, you may proceed to the step described below. If your Partner Section owns the office building, then contact your Facilities Manager or another person responsible for the building and define with him/her whether you'll hire an external firm to assess the possibility of installing solar panels and then to install them or if you rather reach out for internal MSF expertise/help on this subject. | Some available grants include: - In the UK, homes can benefit from a zero VAT on solar panel materials and installation until March 2027. - Austria has set up an aid scheme to reach their target of 100% renewable energy sources by 2030. Additionally, they have a residential solar subsidy program that awards EUR250 rebates per grid-connected kilowatt. - Sweden’s Gron Teknik tax reduction provides a 20% deduction on material and installation cost of solar panels. | The C40 Cities Finance Facility is currently undergoing a project to boost solar power development. Collaboration with ABSOLAR, promoter of the solar PV sector in Brazil is recommended. In Buenos Aires, the solar PV potential is 7.79 kWh per day per kW of installed solar in the summer, this figure is 4.58 kWh/day in the autumn, 3.27 kWh/day in the winter, and 6.29 kWh/day per kW of installed solar capacity in the spring. The government offers incentives for businesses wanting to install solar energy. | In Toronto, potential incentives are: the Third-Party Power Purchase Agreements (PPA) that allow businesses to buy or lease a solar system; Toronto's SolarTO programme (https://www.toronto.ca/services-payments/water-environment/net-zero-homes-buildings/solar-to/) helps businesses assess their rooftop solar potential. In New York, the Federal Investment Tax Credit allows businesses to claim 22% credit on federal income taxes for the cost of installing a solar energy system. New York State also offers a 25% credit. | Nairobi is a suitable location for solar PV generation, producing approximately 5.3 to 6.5kWh/day per kW of installed solar. Considerations must be made around shading from trees and dust accumulation. There are business incentives and tariffs to consider. In Johannesburg, solar panels provide an opportunity to lower carbon emissions and reduce dependency on the national grid. | The Delhi Solar Energy Policy introduces a state capital subsidy and generation-based incentive. See further resources: (https://eerem.delhi.gov.in/eerem/about-delhi-solar-energy-policy) | There are key policies such as Hong Kong's Climate Action Plan 2050 that aims to overcome these constraints by facilitation local renewable energy projects. https://re.emsd.gov.hk/english/index.html There are space constraints in Tokyo. However, the city receives a good amount of sunlight, and Japan's feed-in-tariff provides incentives for solar PV projects up to 5 MW. | In Sydney, the Small-scale renewable energy scheme reduces the cost of new solar PV for businesses due to small-scale technology certificates that can be redeemed or sold.
| 4 | Medium | Offsite renewable electricity supply | 1) Assess Asset Needs and Goals - Engage with the facility manager to review historical energy consumption data for the PSs (e.g., from utility bills or meter readings). Confer with concomitant onsite renewable electricity supply efforts to determine the quantity of renewable electricity required to meet carbon targets or ambitions. 2) Evaluate and Select Renewable Energy Supplier - Conduct market research for the shortlisting of possible suppliers, evaluating the credibility and reliability of their Renewable Energy Certificates (RECs) and the sustainability and mix of their renewable energy sources. Prepare and distribute purchase proposals to the shortlisted suppliers, specifying the electricity requirements and the contract terms (i.e., duration, volume and delivery schedule, pricing structure (e.g., fixed vs variable), certification and verification processes, and renewable options). Evaluate the proposals based on assessment criteria (e.g., cost, energy sources, locality, co-benefits, vintage year, certification, etc.) and select a supplier. Engage the Legal Team to finalise the contract. 3) Implement and Monitor the Agreement - Work with the supplier to set up the necessary monitoring systems to track the renewable electricity delivery and usage. Track utility bills and electricity meters to verify the renewable energy supply. 4) Monitor, Report and Optimise - Periodically review the performance of the renewable electricity supply against associated targets, whilst adjusting the procurement strategy accordingly. | The EU accelerated its shift away from fossil fuels in 2023. Fossil fuels dropped by a record 19% to their lowest ever level. Renewables rose to a record 44% share.The REPowerEU plan foresees 72% of power generation coming from renewables by 2030, up from 44% in 2023. Renewable Energy Directive: https://energy.ec.europa.eu/topics/renewable-energy/renewable-energy-directive-targets-and-rules/renewable-energy-directive_en Horizon Europe: https://research-and-innovation.ec.europa.eu/funding/funding-opportunities/funding-programmes-and-open-calls/horizon-europe_en | The Brazilian Ministry of Mines and Energy has announced that 93.1% of Brazil's power generation of 2023 came from renewable sources, mainly hydro, solar PV and wind power. Hydropower plants continued to dominate the installed capacity (58% in 2023) but wind and solar installations gained momentum in 2023. According to the EPE, electricity consumption in Brazil increased by 4.2% in 2023, spurred by households (+7.6%) and businesses (+5.6%), while industrial consumption rose by 2%. | Toronto's TransformTO programme has stated ambitions to have 50% of community-wide energy coming from renewable and low-carbon sources, with 25% of commercial and industrial floor area to be connected to low carbon thermal energy sources. In 2022, New York accounted for 11% of total US hydroelectricity net generation and was the third largest producer of hydropower in the nation. Offshore wind and 22 land-based renewable energy projects are expected to deliver 12% of New York's total electricity demand in 2030. Significant investments are made to improve the share of renewable energy available on the grid. | Kenya is one of the few countries to develop geothermal energy: by 2040, it accounts for almost 50% of Kenya's power generation. The estimated solar potential in Kenya is almost 15000 MW. At the moment, the installed capacity is more than 100 MW with the largest installation being Garissa Solar with 55MW installed capacity. Energy investment amounts to around $60 billion through to 2040, with renewables and electricity networks accounting for half of this. | Solar Power: New Delhi has been actively promoting the installation of solar panels, especially on rooftops. The Delhi Solar Energy Policy aims to make solar energy a significant part of the city’s energy mix. Incentives for residential, commercial, and industrial sectors to install solar panels are part of this push. Waste-to-Energy: The city is investing in waste-to-energy plants to tackle the problem of solid waste while generating electricity. These plants convert non-recyclable waste into energy through incineration and other technologies. | In Hong Kong, renewable energy generation is not as far developed. As of 2021, only 0.2% of total electricity supply was based on renewable energy. Policy is supportive. The two utility companies responsible for energy generation are selling Renewable Energy Certificates (RECs). Geographical and environmental constraints reduce the potential of local renewable energy generation. Japan has increased their ambition for renewable energy generation up to 26-28% by 2030. In 2022, Tokyo's share of renewables in energy demand was at 20.5%. Big players such as Yotsuya Capital plan to develop significant capacity in solar farms. Policy is supportive. | The City of Sydney is now powered using 100% renewable energy generated from wind and solar farms in regional New South Wales. This was accomplished through a power purchase agreement with Flow Power.
| 5 | Medium | Evaluate and pursue alternative low carbon heating and cooling solutions | If your Partner Section does not own the building or is not its sole owner, make sure the owner or the co-owners agree on eventual installation of the low carbon heatinga and cooling solutions. Once the permission to proceed is received, you may apply the steps described below. 1) Assessment and Planning - Based on the benchmarking exercise and having understood the existing systems, consult an MEP engineer to conduct a feasibility assessment of different low-carbon heating options based upon cost, efficiency, energy savings, source availability and space constraints. 2) System Design and Selection - Where an option is viable, consult an MEP designer to further develop designs of the chosen heating and cooling system. Select a vendor based on set evaluation criteria (e.g., cost, timeline, reputation etc.), before acquiring and approving the final design. 3) Installation and Integration - Obtain the necessary permits and local authority approvals, before preparing the site for installation. On installation, attain a quality assurance assessment. 4) Monitoring and Maintenance - Acquire training sessions for the buildings maintenance staff on the operation and basic troubleshooting of the system. Ensure staff are equipped to perform regular monitoring and maintenance (e.g., filter replacements and system cleaning). | Heat pumps: Heat pumps driven by low-carbon electricity use less electricity than direct electrical heating. In the EU, this market is growing at around 12% per year. Heat pumps are widely available due to a competitive market and government support. High adoption rates in Germany, Denmark, and Sweden. Natural gas replacement: Europe is the main producer for renewable biomethane, which can be blended with natural gas to lower carbon impact. Geothermal heating: This is effective in countries such as Italy and Greece due to geological conditions. | Heat pumps: Although this market is growing, partner sections may experience difficulties with finding the local expertise for installation and maintenance. Cooling: Due to the warmer climate, effective low-carbon cooling solutions are critical. Solutions to explore include the integration of natural ventilation to reduce heat. Optimum solutions include solar powered cooling systems. Due to limited availability in Latin America, it is recommended to consider highly energy-efficient or electrified air conditioners. | Heat pumps: In the US, around 40% of new constructions have heat pumps. Government policy is supportive and PS could experience significant energy and cost savings by transitioning to heat pumps. District heating and cooling: Urban areas such as NYC and Toronto will have available and/or growing district heating. Please see further resources: https://www.iea.org/reports/heating-and-cooling-strategies-in-the-clean-energy-transition Relevant companies include: Trane Technologies (https://blog.tranetechnologies.com/en/home/solutions-innovation/decarbonization-a-sustainable-pathway.html) | Low-carbon cooling solutions are still under development in Africa. Significant investments are underway, and centres such as The Africa Centre of Excellence for Sustainable Cooling and Cold-chain (ACES) are exploring opportunities in the region. Air conditioners: There is still limited commercial viability and market penetration for low-carbon HVAC systems. Solar cooling and heating: There is a high potential for solar energy, cooling, and heating. However, infrastructure development is low and availability of low carbon solar energy is limited. Natural ventilation: Design considerations to implement natural ventilation are a viable option to reduce heat load. | Solar powered cooling/heating: The South Asian region is well positioned to generate solar energy. Tata Power Solar is the largest solar energy provider in India. Cooling: Options to explore include natural ventilation design. There is also high potential in India for geothermal energy, and the Geological Survey of India has shortlisted around 350 high potential geothermal sites across the country. However, this energy source requires significantly more research and development. Partner sections in this region should emphasize transitioning to energy efficient air conditioners when possible. | Hydrogen: Japan's national basic hydrogen strategy intends to install 5.3 million domestic CHP units by 2030. This will provide both heat and distributed electricity generation with a lower carbon footprint. Low carbon innovation: Technology and innovation in East Asia is highly advanced. In Japan, HVAC manufacturers are developed low-carbon heating and cooling technologies. Daikin Industries is developing a technology that uses magnetic force to generate temperature changes. Panasonic Holdings is launching a heating system using natural refrigerants. See further resources: - https://www.iea.org/reports/the-future-of-heat-pumps-in-china | Solar thermal energy: Australia is well-positioned to generate solar energy due to its solar abundance. Solar battery storage is also becoming more economical to install in the region. Low-carbon options: Partner sections should explore energy efficient HVAC systems, the electrification of heating and cooling, and reverse-cycle air conditioning.
| 6 | Low | Optimization of existing Mechanical, Electrical and Plumbing (MEP) systems | If your Partner Section does not own the building or is not its sole owner, make sure the owner or the co-owners agree on eventual optimization of the MEP solutions. Once the permission to proceed is received, you may apply the steps described below. 1) MEP System Audit Preparation - Collate historical energy consumption data for individual MEP system the past five years, where possible. Define the scope of assessment. Possible MEP system components to address include the efficiency, control systems and programmability of HVAC systems such as boilers, heat recovery systems, chillers, air handling units, and thermostats and controls; the type, efficiency and presence of lighting fixtures and controls; the efficiency and loading of electrical distribution transformers; the presence and effectiveness of power factor correction equipment; and the efficiency and energy settings of office equipment and appliances (e.g., computer, printers, kitchen appliances, etc.) Select an energy or facilities manager or external certified energy auditor to undertake the audit. 2) Conduct the Audit - Identify and document all energy-consuming MEP system, such as HVAC systems, lighting, office equipment, and appliances. Next, conduct an audit of the MEP systems. Gather energy consumption readings for the identified equipment. Use energy monitoring tools and equipment to measure real-time energy consumption of different systems. Interview facility managers, maintenance staff, and employees to gain insights into operational practices and identify potential areas for improvement. 3) Analysis and Reporting - Analyse collected data to identify patterns of energy use, peak demand periods, and inefficiencies. Compare the energy performance with industry benchmarks and best practices. 4) Selection and Implementation of Energy Efficient MEP Systems - Define the scope of possible energy efficient implementation measures based on available resources. This could include replacing systems and equipment identified as inefficient with high-efficiency models (e.g., HVAC units with variable speed drives, energy efficient LED lighting, etc.) or retrofitting existing equipment to increase efficiency (e.g., implement heat recovery ventilation systems to capture and reuse waste heat from HVAC systems). Controls and automation measures should also be considered, (e.g., smart thermostats and sensors that optimise heating, cooling and ventilation based on real-time weather conditions and occupancy; occupancy motion sensors or dimmer installation for lighting; integration of a Building Management System to automate and optimise operation of all MEP systems centrally, ensuring they only run when necessary). 5) Follow Up and Learning Have facilities staff regularly monitor energy consumption and performance to track the progress of any implemented measures post-audit.
| 6a | Low | Easy-to-implement Individual MEP Optimisation Actions: Replace HVAC Units | Replace old, inefficient HVAC units with higher efficiency models that are efficient to flexible demands through variable speed drives. | Pacemaker action A-4 (https://msfintl.sharepoint.com/sites/ClimateSmartMSF/Shared%20Documents/Forms/AllItems.aspx?id=%2Fsites%2FClimateSmartMSF%2FShared%20Documents%2FNew%20Updates%2FL039CLIM01E%5FMSF%5FLOG%5FPACEMAKER%5FENG%2Epdf&parent=%2Fsites%2FClimateSmartMSF%2FShared%20Documents%2FNew%20Updates)
| 6b | Medium | Easy-to-implement Individual MEP Optimisation Actions: Install Smart Thermostats and Occupancy Sensors | Optimise heating, cooling and ventilation based on real-time occupancy and weather conditions
| 6c | High | Easy-to-implement Individual MEP Optimisation Actions: Install Energy-Efficient LED Lighting | Replace old energy-intensive and thus emissions-intensive lighting fixtures | Pacemaker action A-11 (https://msfintl.sharepoint.com/sites/ClimateSmartMSF/Shared%20Documents/Forms/AllItems.aspx?id=%2Fsites%2FClimateSmartMSF%2FShared%20Documents%2FNew%20Updates%2FL039CLIM01E%5FMSF%5FLOG%5FPACEMAKER%5FENG%2Epdf&parent=%2Fsites%2FClimateSmartMSF%2FShared%20Documents%2FNew%20Updates)
| 6d | Medium | Easy-to-implement Individual MEP Optimisation Actions: Install Occupancy Sensors or Dimmers for Lightings | Offer advanced controls for lighting to reduce unnecessary lighting usage
| 6f | High | Easy-to-implement Individual MEP Optimisation Actions: HVAC, lighting and appliance reminders | Place visually appealing and clear physical prompts next to the control systems of HVAC systems, lighting, and appliance controls to remind members to shut them down when not in use in order to minimise needless energy consumption. The same prompts can be regularly circulated in Green Team emails or through Green Team segments of PS internal meetings.
| 7 | Medium | Optimisation of Building Fabric Components | If your Partner Section does not own the building or is not its sole owner, make sure the owner or the co-owners agree on eventual optimization of the MEP solutions. Once the permission to proceed is received, you may apply the steps described below. 1) Building Fabric Audit Preparation - Define the scope of assessment in regard to the building fabric components assessed, based upon resources available to the PS. Possible components include the insulation condition, construction materials thermal properties and possible air leakages associated with walls; the insulation, material thermal performance and ventilation of rooves; the insulation, material thermal performance, and damp proofing of floors; the glazing, frame material thermal properties, air tightness, and shading effectiveness of windows; the insulation and air tightness of doors; the air tightness of the building envelope; and the condition of exterior finishes in relation to thermal performance. Select an energy or facilities manager or external certified energy auditor to undertake the audit. 2) Conduct the Audit - The auditor should undertake a visual inspection of the condition of building fabric components listed above. Example include an inspection of insulation gaps or degradation, window damage or seal gaps, and air leak sources (e.g., gaps around doors, penetrations for electrical or plumbing conduits, or poorly sealed ductwork). If the equipment is available, use diagnostic tools such as thermal imaging to identify heat loss and poor insulation or a door blower test kit to assess air tightness. Interview facility managers, maintenance staff, and employees to gain insights into operational practices and identify potential areas for improvement. 3) Analysis and Reporting - Analyse collected data to identify patterns of energy use, peak demand periods, and inefficiencies. Compare the energy performance with industry benchmarks and best practices. 4) Selection and Implementation of Energy Efficient Building Fabric Components - Define the scope of possible energy efficient implementation measures based on available resources. This could include upgrading wall insulation and applying sealant to cracks and gaps causing air filtration; installing or upgrading roof insulation in the attic or roof space, installing ridge vents, soffit vents, or attic fans to enhance roof ventilation, and using cooling or high albedo roof materials to reduce heat gain in rooves; installing insulation under floors or efficient radiant floor heating systems; replacing single-glazed windows with double- or triple-glazing, installing insulated frames and sealing to enhance air tightness in windows; enhancing the sealing and insulation of doors; sealing leaks in the building envelope; and upgrading exterior cladding within insulated systems or materials. 5) Follow Up and Learning - Have facilities staff regularly monitor building fabric component performance to track the progress of any implemented measures post-audit.
| 7a | Medium | Easy-to-implement Individual Building Fabric Optimisation Actions: Wall Insulation and Wall Sealing | Improve the thermal performance of walls by upgrading wall insulation and applying sealant to cracks and gaps causing air filtration | The diverse climate in the European region, from cold winters in Norway to hot summers in Italy, makes insulation a critical component of improving building fabric for energy efficient and thermal comfort in offices. Strong government incentives exist to encourage the installation of high quality insulation for walls, roofs, floors, and doors and there is a general public awareness of the benefits of improving insulation. In 2023, the binding EU Energy Efficiency target was raised to add an addition 11.7% reduction in energy consumption by 2030. https://energy.ec.europa.eu/topics/energy-efficiency/energy-efficiency-targets-directive-and-rules/energy-efficiency-directive_en The key types of insulation are polystyrene (EPS) and mineral wool. https://www.ialconsultants.com/media/1090/thermal-insulation-press-release-2021.pdf | The temperate climate in Latin America necessitates effective insulation to maintain comfortable indoor temperatures and reduce energy consumption. According to Triton Market Research, the Brazilian construction sector has limited capacity and high logistic costs. Predicted improvements over the next few years will enable the procurement of insulation at reasonable costs. https://www.tritonmarketresearch.com/reports/latin-america-building-insulation-market Government policies, such as the PRONUREE in Argentina aim to improve energy efficiency measures. | Toronto and NYC benefit from strong government incentives to improve insulation for energy efficiency. The U.S. Department of Energy's Building America Program promotes innovation in residential building energy efficiency and performance. A recent pledge of $1.8million investment in the Toronto Community Housing Corporations aims to increase energy efficiency. https://www.canada.ca/en/natural-resources-canada/news/2022/06/canada-invests-in-energy-efficiency-for-buildings-in-toronto.html | High costs and limited availability of insulation materials and construction providers make it challenging to invest in building insulation in Africa. Initiatives such as the Energy Efficiency in Public Buildings and Infrastructure Programme (EEPBIP) in South Africa will improve local skills and capacity around energy efficiency and insulation, suggesting the regional market is expected to develop in the future. https://www.giz.de/en/worldwide/129395.html Relevant resources to consult include: - Green Building Council of South Africa (GBCSA) - Kenya Green Building Society | With rising temperatures causing significant discomfort and stress in South Asia, correct building insulation is an important intervention to mitigate negative impacts. Exploration of alternative sustainable interventions and traditional designs should be explored. The Energy Conservation Building Code (ECBC) sets standards for energy efficiency in commercial buildings, including insulation. https://dialogue.earth/en/climate/5-sustainable-cooling-solutions-tackle-extreme-heat-south-asia-2/ https://blogs.worldbank.org/en/endpovertyinsouthasia/cooler-buildings-warming-south-asia | High levels of environmental awareness and supportive building codes in Tokyo and Hong Kong facilitate the adoption of building insulation (roof, wall, floor, etc.). Hong Kong Green Building Council's report stipulates innovative green building materials, e.g. bio-based carbon-negative concrete https://www.hkgbc.org.hk/eng/global-movement/sbe-conference-series/wsbe24/Hong-Kong-Report/Hong-Kong-Report-2024.pdf Alternative policies relevant to energy efficient buildings: - Hong Kong's Building Energy Efficiency Ordinance https://www.info.gov.hk/gia/general/201209/21/P201209210227.htm - Tokyo Energy Conservation Act | Australia offers strong government incentives and rebates for energy efficiency improvements, with well-developed markets for high-quality insulation materials. Higher costs associated with some advanced insulation materials and logistical challenges in sourcing materials for older buildings with complex structures can present challenges. Despite this, the availability of skilled labour and government support makes Sydney a conducive environment for insulation improvements.
| 7b | Medium | Easy-to-implement Individual Building Fabric Optimisation Actions: Roof Insulation and Sealing | Installing or upgrading insulation in attic and roof space and applying sealant to cracks and gaps causing air filtration
| 7c | Medium | Easy-to-implement Individual Building Fabric Optimisation Actions: Floor insulation | Improve the thermal performance of walls by upgrading floor insulation
| 7d | Medium | Easy-to-implement Individual Building Fabric Optimisation Actions: Door Insulation and Threshold Fitting | Enhance the fitting of door thresholds for air tightness and upgrading insulation for thermal performance
| 7e | Medium | Easy-to-implement Individual Building Fabric Optimisation Actions: Improve Window Glazing and Window Sealing | Replacing single-glazed windows with double- or triple-glazing and introducing sealing to enhance air tightness in windows | Window installation is readily available as a service, but may be accompanied by significant costs. It is suggested to combine the implementation of various energy efficiency interventions to minimise costs. | Replacing single glazed windows is not as popular in this region, but services are available. They may come with a relatively high cost of implementation. | Replacing single glazed windows will come with a high cost of implementation, but will lead to significant energy savings. There are a wide variety of suppliers that can provide and install energy efficient windows. | Availability of double or triple glazed windows is limited in the region, but will likely be available in urban areas. Initial costs will be high, and can be a barrier of implementation. | Replacing single glazed windows is becoming increasibly popular in urban areas due to high energy consumption. | This intervention is widely available in the region and has the potential to significantly improve indoor comfort. Replacing single glazed windows can have significant impacts on energy consumption. | There is an increasing emphasis on improving energy efficiency in building practices, and are widely available for implementation. However, this may come with high installation costs. Replacing single glazed windows can reduce cooling loads in the hot summers.
| 7f | Low | Easy-to-implement Individual Building Fabric Optimisation Actions: Enhance Roof Ventilation | Installing ridge vents, soffit vents, or attic fans to enhance roof ventilation | Roof ventilation can reduce heat stress in hot climates, and improve indoor air quality. Ridge vents are popular in Europe due to moderate cost and effectiveness in temperate to cold climates. There is high availability due to a competitive market. | Soffit vents are essential for providing intake air to balance the ventilation system and are especially important in hot climates. Ridge vents should be combined with soffit vents in hot climates. Attic fans are popular in hot climates, and frequently used in Africa, Asia, and Latin America due to ease of installation. | Ridge vents are popular in North America due to moderate cost and effectiveness in temperate to cold climates. There is high availability due to a competitive market. | Soffit vents are essential for providing intake air to balance the ventilation system and are especially important in hot climates. Ridge vents should be combined with soffit vents in hot climates. Attic fans are popular in hot climates, and frequently used in Africa, Asia, and Latin America due to ease of installation. | Soffit vents are essential for providing intake air to balance the ventilation system and are especially important in hot climates. Ridge vents should be combined with soffit vents in hot climates. Attic fans are popular in hot climates, and frequently used in Africa, Asia, and Latin America due to ease of installation. | Soffit vents are essential for providing intake air to balance the ventilation system and are especially important in hot climates. Soffit-fans are cost-effective and easy to install in dense urban environments. Ridge vents should be combined with soffit vents in hot climates. Attic fans are popular and easy to install. | Soffit vents are essential for providing intake air to balance the ventilation system and are especially important in hot climates. Ridge vents should be combined with soffit vents in hot climates such as that in Australasia.
| 7g | Medium | Easy-to-implement Individual Building Fabric Optimisation Actions: Roof Albedo and Cooling Material Upgrades | Using cooling or high albedo roof materials or paints to reduce heat gain in roofs | High albedo paints are readily available across Europe. Additionally, Europe's Green Deal and other regional policy is supportive of energy efficiency interventions. Partner sections should therefore explore the potential of subsidised services. White roofs are specifically useful in hot climates, such as in Southern European countries. | As awareness of energy efficiency measures increases in this region, reflective coatings will become more widely available. Cost of painting will be relatively low, due to a lower cost of labour. This is a highly beneficial measure for tropical and subtropical climates, and has the potential to lower the cooling costs. | Reflective pains are widely available, but costs of services range and may be particularly high in urban areas. The architectural design of the building in which partner sections are based can have an impact on whether this is a feasible measure to introduce. There will likely be rebates and other policy incentives available for partner sections to consult. | Local suppliers and international companies (such as Dulux) are expanding offerings of high albedo paints. The lower labour costs make reflective roofs a cost-effective way of reducing cooling costs. Although, there are limited official government policies and incentives. | Reflective roofs are highly effective in reducing the heat load in New Delhi summers. Partner sections should assess whether the building is suitable for painting, in terms of building design. Reflective coatings are becoming increasingly more popular in the region and government is becoming more interested in supportive sustainable building practices. | Partner sections will be able to acquire reflective paints in the region either via local of international suppliers. Policy is generally supportive of implementing energy efficient roofing materials. | Reflective paints are readily available and suitable for the climate in this region. Local and international suppliers such as Dulux or Wattyl provide specialised products. The cost of installation/painting may be higher than in other region, but there is strong government support through programmes such as the National Australian Built Environment Rating System (NABERS).
| 7h | High | Easy-to-implement Individual Building Fabric Optimisation Actions: Window and Door Shutting Prompts | Place stickers near windows and doors reminding employees to shut them in order to improve the thermal performance of spaces in cold conditions
Sustainable purchase of goods and services | 8 | Medium | Suppliers assessment | The recommendation is to asses suppliers for whom the yearly purchases exceed EUR 100k equivalent. However, for many PS, such vendors won't exist so you can use the below-mentioned tools to assess any other top suppliers, after having agreed internally on the criteria to choose them. Refer to the central resources: - Signature of Supplier Code of Conduct - Supplier Assessment (EcoVadis or MSF Questionnaire) + specfic criteria related to the products/ service purchased. Some criteria are already developed (see https://msfintl.sharepoint.com/sites/ClimateSmartMSF/SitePages/Supply-Chain.aspx). If the criteria for a specific category or product aren't developed yet, contact GPU Sustainability Focal Point : sustainable.procurement@msf.org
| 9 | Low | Buying used phones, PCs and other office equipment | While there is a global laptop tender, for which the sustainability criteria are currently being added, not all PS participate to it. If your PS is not participating to the global tender, then a person responsible for the procurement of IT/office equipment should research local secondary equipment suppliers to procure used products from. After reviewing the legitimacy of their secondary product claims and considering relative cost, select a supplier and procure the necessary devices. Ultimately the whole life carbon of products should be considered to effectively evaluate the relative emissions impacts of procuring different products. Focusing solely on the secondary nature of products procured may not necessarily result in net reductions in emissions, as other components of life cycle emissions may be higher. For example, the potential higher operational emissions of an energy inefficient secondary computer may result in higher net life cycle emissions relative to other virgin computers.
| 10 | Low | Purchase goods locally | Whenever possible, while purchasing office materials, equipment or ordering catering for major events, think about the local suppliers, being located as close to your office as possible to avoid transportation-related carbon emissions.
Resource efficiency, waste reduction, and waste management | 11 | High | Reduce office supplies demand through behaviour change nudging measures | 1) Redesigning Office Space and Supply Access - The facilities manager can alter the arrangement of office suppliers and resources to make sustainable choices more convenient. Some examples follow. - The number of individual printers can be reduced by setting up centralised printing stations that are easily accessible. - Office resources can be made communal and held within centralised supply areas where practical, thereby reduce supply usage. Sign-out sheets or digital logs could be used to track usage. 2) Create Behaviour Prompts The office or facilities manager should use signage, reminders, and visible metrics to encourage a reduction in office supply use. These should be placed strategically in areas of high traffic (e.g. near printers or cabinets), be visually appealing and clear, and rotated regularly to keep noticeable. Reminders could include "think before you print", "use both sides of the paper", "return when used". | The EU Waste Framework Directive presents waste hierarchy of: - Prevention - Preparing for Re-Use - Recycling - Recovery - Disposal Circular economy principles are widely accepted and promoted in the EU and can be explored by the Partner Sections. Policy in the EU is supportive of waste segregation, e.g. Germany's Green Dot system or UK's pre-segregated council bags. Offices in the European region should strive to separate waste with educational signage and further collaboration with their waste service provider. | Integrating waste reduction strategies such as zero single-use plastics in the office will reduce the overall waste produced on-site. Please see the following resource for more information: https://www.iema.net/articles/waste-management-in-brazil | Offices in the North American region should strive to separate waste with educational signage and further collaboration with their waste service provider. | Partnerships with NGOs and other government-funded initiatives may enable Partner Sections to improve overall recycling rate. Partner Sections should improve building in the segregation at the source. Relevant sources to consult: - https://wasteaid.org/programmes/current-programmes/south-africa/ - https://www.wasterecyclingmea.com/news/waste-management/south-africa-waste-management-landscape-an-overview - https://www.climate-kic.org/news/a-vision-for-sustainable-waste-management-in-nairobi/ | The number of waste management initiatives and organisations are increasing and opportunities should be explored by Partner Sections. Explore waste management on the official Department of Environment website: https://environment.delhi.gov.in/environment/waste-management | Hong Kong Landfills are projected to reach capacity by 2030. Specific efforts must be made to promote waste segregation and recycling at the source through evident signage and education in the office. Resources: - https://tokyoesque.com/unveiling-japans-sustainable-practices/ - https://hken.rs-online.com/web/content/discovery/ideas-and-advice/recycling-in-hong-kong-challenges-and-solutions | Offices should focus on segregating waste at the source through signage and education. Notable resources: - https://www.bingoindustries.com.au/
| 12 | High | Office supplies demand planning and waste monitoring | In your waste management strategy, use the principle of 'refuse, reduce, reuse, repurpose, repair, recycle' where the order of actions shows their prioroity. Instead of just thinking about the recycling, be creative and invite your PS colleagues to do so as well. 1) Waste Audit and Implementation of Waste Tracking - A member of the facilities team should perform a waste audit to evaluate the waste currently generated by the PS, identifying waste volumes split by waste type and waste treatment method. Establish a system to track the volume and type of waste generated, typically through the installation of clearly labelled waste collection and sorting stations. 2) Conduct an Office Supplies Inventory Audit - A PS employee close to inventory management should perform a comprehensive audit of current office supplies and to review past usage data to evaluate trends in office supply consumption. The past usage could be informed by procurement or financial records in combination with the waste tracking data. 3) Forecast Future Demand - A PS employee close to inventory management or an external consultant should define the parameters for a forecasting of demand. This could include lead times, seasonal variations and buffer stock levels. Update the forecasts periodically.
| 13 | High | Paper demand and paper waste reduction | You can reduce your paper consumption and thus, the related paper waste by: -> digitizing your communication with donors and employees. First, set the top priority/volume documents to be digitized and check what funding is available. Then, choose a technology, e.g. document scanners, Cloud storage solutions, document management systems (DMS). Next, develop new digital workflows to replace paper-based ones, e.g., digital signatures, digital approvals, use of online collaboration tools. Finally, track digital document usage and alter the new processes based on employee feedback. -> removing paper from your canteen/coffee corner. Beside purchasing reusable alternatives to single use paper such as reusable plates, cups, utensils and products with eco-friendly packaging, implement also the systems for reuse. This can include storage containers for used dirty crockery, dishwashing stations and cabinets. -> opting for either cotton towels or electric hand dryers as alternatives to paper towels in the toilets. If you choose the cotton towels, take into account their cleaning and lifespan. If you look into the electric hand-dryers, consider their energy efficiency level and the source of energy you'll use. -> purchasing recycled paper products. In many countries, there are existing certifications that validate recycled content in paper. The Forestry Stewardship Council certification verifies that paper is made from 100% post-consumer recycled content. The U.S. Green Seal can be used in the US.
| 14 | High | Waste segregation and recycling | A good starting point is to perform a waste audit to identify waste volumes split by waste type and waste treatment method. Only then, plan the segregation of different waste types and identify appropriate recycling streams. Clearly label waste collection and sorting stations at accessible points of typical waste aggregation across the office. Establish partnerships with certified recycling companies to handle the segregated waste. Person taking care of office facilities should track the amount and types of waste being segregated and recycled to monitor uptake and alter the new processes accordingly. As it comes to managing the IT equippment end-of-life management, refer to the sustainability criteria: https://msfintl.sharepoint.com/sites/ClimateSmartMSF/Lists/Services/AllItems.aspx?viewid=5e6dfdb9%2D8e4e%2D48c9%2Da0a9%2D936e3e7d6f57
| 15 | Low | Food compost | Consider the waste types, volumes, space capacity, budget, and only then eventually opt for a composting approach from below: - onsite composting bins: low cost and maintenance; appropriate for moderate organic waste generation. - vermicomposting (worm composting): space efficient and can reduce odour. Best where limited-space indoor composting is necessary. - commercial composting services: picked up by a third-party provider; convenient for offices producing large volumes of organic waste. - bokashi composting: fermenting organic waste. Can compost large volumes and a wider variety of waste, such as meat and dairy. In all cases, label the bins clearly with use instructions. Check them regularly for appropriate usage. | In many European countries, government regulation for composting is favourable. Partner sections should aim to collect on-site food waste and/or acquire commercial composting services. | Inconsistency in waste management infrastructure may present issues for partner sections in Latin America to implement food composting. To overcome these structural issues, offices may implement smaller-scale office-based composting solutions or partner with local NGOs and community groups that repurpose food waste in local farming efforts. | There are strong regulatory frameworks and data collection systems to conduct waste audits in major urban areas such as Toronto and NYC. Partner Sections should select waste management providers that offer food composting services. | Inconsistency in waste management infrastructure may present issues for PS in Africa to implement food composting. To overcome these structural issues, offices may implement smaller-scale office-based composting solutions or partner with local NGOs and community groups that repurpose food waste in local farming efforts. | Municipal waste management is a challenge in New Delhi due to high population density, industrialisation, and lack of waste segregation at the source. There is increasing public awareness in practices such as food composting. The urban and peri-urban areas present opportunities for using food compost in agriculture. | Non-profit organisation, ECPAL, offers food waste bin set up and collection for offices. Offices should focus on reduction on food waste at the source, and then consider food donation or waste collection strategies. O•PARK1 is the first waste to energy facility in Hong Kong. Similarly in Tokyo, there is high quality infrastructure for waste segregation and management. | The City of Sydney has a structured and robust approach to food waste collection and composting that can be found here: https://www.cityofsydney.nsw.gov.au/waste-recycling-services/prepare-for-your-food-scraps-recycling-collection There are also regional biomass waste to energy facilities such as EarthPower. https://diamondenergy.com.au/earthpower/
| 16 | Low | Propose vegetarian and/or vegan meals in the office | The Green Team or HR team should survey employees to gauge interest in vegetarian or vegan meal options, whilst recording dietary restrictions. This could be done through online surveys or in person surveys and suggestion boxes. Evaluate the cafeteria set ups to determine the capacity for offering plant-based meals. Engage with existing or new meal suppliers to also gauge the availability of plant-based meal options, focusing on local and organic options where possible. Refer to the catering sustainability criteria (https://msfintl.sharepoint.com/sites/ClimateSmartMSF/Lists/Services/AllItems.aspx?viewid=37968609%2Da041%2D42d7%2D9f76%2D64e3ed25d8de).The catering team should monitor the uptake of vegetarian or vegan meals to understand demand and preferences and adjusting the menu accordingly, thus avoiding further waste. | While trying to change the eating habits, country-specific and traditional dietary habits should be taken into consideration. On top of that, think about the verying acceptance of the vegetarian, vegan and dairy free meals in different regions, countries and communities.
Travel optimization | 17 | High | Encouraging communication through digital channels over in-person ones | Foster a digital communication culture - - implement digital-first policies that prioritize digital communication over in-person meetings, - promote the environmental benefits of digital communication to motivate behaviour change, - encourage employees in leadership positions to lead by example in prioritising digital communication, - ensure that the actions relating to improving digital footprints are followed, Track the amount of meetings taking place in person, particularly those necessitating additional business travel, to monitor uptake of digital practices. | Refer to the MSF International - Travel Policy clearly promoting digital ways of communication - https://msfintl.sharepoint.com/sites/ClimateSmartMSF/SiteAssets/Forms/AllItems.aspx?id=%2Fsites%2FClimateSmartMSF%2FSiteAssets%2FSitePages%2FEnergy%2DTransition%2FMSF%2DInternational%2D%2D%2DTravel%2DPolicy%2Epdf&parent=%2Fsites%2FClimateSmartMSF%2FSiteAssets%2FSitePages%2FEnergy%2DTransition
| 18 | High | Promoting trains over flights | Use the following travel decision tree (https://msfintl.sharepoint.com/sites/ClimateSmartMSF/SitePages/Business-Travel.aspx) to encourage your PS colleagues to use land transportation means and remind line managers approving travel requests, that they should encourage land transportation over flights. Use the Environmental Impact Toolkit to calculate your PS CO2 emissions related to travel and report on it periodically to your MT to show the tendencies and encourage further improvements. Refer also to the MSF International Travel Guidance https://msfintl.sharepoint.com/sites/ClimateSmartMSF/SitePages/Business-Travel.aspx. | The efficiency of train infrastructure varies greatly across the European region. In Germany, the train system is a feasible alternative to both domestic and cross-border flights. The Deutsche Bahn is affordable and efficient. In Luxembourg, train travel is free (excluding first class tickets). Sweden is investing significant amounts into railways to promote domestic usage. The UK similarly has an extensive national railway system, where costs and efficiency are often favourable over domestic flights. Cross-border rail travel in Europe is efficient and speedy with the Eurostar. Although costs are occasionally higher than a flight alternative, lowering emissions from business travel should be a high priority and considered within the carbon budget. Out of all regions, converting from short-haul and domestic flights in Europe may be most achievable and should set an example for other regions. | The geographic size of this region may prevent the opportunity to transition away from domestic and short-haul flights. Trade-off between efficiency of business travel and resulting emissions present a contentious point. Underdeveloped rail systems and lack of investment into public transport are barriers to decarbonisation. It is recommended that partner sections in this region opt to transition away from travel as a whole rather than make large concessions in efficiency and safety of employees. Regional rail services need significant investment, but intercity bus services can be an interim solution. This will come with longer travel times, so should be considered at a case-by-case basis. Setting up a decision-tree to determining the necessity of domestic or short-haul travel may assist in reducing the emissions. | In the United States, cross-state rail travel is surprisingly underdeveloped. Possibilities to transition away from short haul and domestic flights should be balanced against efficiency and time considerations. Notably, railway travel in the United States is primarily catered towards freight over passenger travel. Many improvements are still to be made to the railway infrastructure, and significant investments are pouring in. Nevertheless, transitioning away from short-haul and domestic flights is still a viable option that should be explored and integrated into regional decarbonisation pathways. In Canada, trains are a viable alternative to short-haul and domestic flights (e.g. between Montreal and Toronto). Necessary travel to remote or distant locations may require the choice of flights and should be accounted for in the carbon budget. Determining the necessity of these trips should therefore be a priority. | Rail travel in Kenya and South Africa is primarily catered towards freight/commodities over passenger travel and trains are often not a viable alternative to flights. More investment is needed in regional rail networks. This will require international funding and partnerships and improvements in operational challenges in safety and efficiency. It is recommended that PS in this region opt to transition away from travel as a whole rather than make large concessions in efficiency and safety of employees. Setting up a decision-tree to determining the necessity of domestic or short-haul travel may assist in reducing the emissions. | In India, trains are far more affordable and convenient for short-haul journeys. Railway stations usually exist in the heart of a city taking you straight into the city centres as opposed to airports. Trains, specifically the Vande Bharat express trains, are starting to compete with airlines in terms of speed, amenities, and customer experience. For example, a flight (premium economy) from New Delhi to Chandigarh averages around Rs 4,500 when booked a week or so before departure. For a third of that, one can book an executive class ticket on the Chandigarh-Delhi Vande Bharat Express. In addition to the lower fares, with the introduction of Amrit Bharat Station Scheme (to modernise a total of 1275 stations), there's a clear policy lever to increase comfort and incentivise travellers to opt railways over short-haul flights. | In 2023, there were more than 370 projects in development to improve railway transport in East Asia and Asia Pacific. In Japan, the combination of the Japan Rail, Shinkansen high speed rail system, and alternative private railway lines ensure that rail is a viable alternative to short haul and domestic flights (depending on the location). Hong Kong is connected to an extensive and rapidly growing railway system in China, offering high speed rail. Domestic travel can and should be accommodated by this system whenever possible (based on urgency of travel). Further train routes are being developed from China into Laos and Thailand. Overall, the railway system in East Asia is reflective of booming economic growth and investment in infrastructure. | Given the Australia's size, the distances between cities, and its remote location, substituting flights for trains is not always feasible and cost-effective. Specific measures should be put in place to determine what travel is essential and urgent. Factoring in travel time into trip confirmation and costing will better prepare the partner sections to make informed decisions. Various rail options are available, however, such as the NSW TrainLink and the Australian Rail Track Corporation.
| 19 | High | No domestic or short-haul flights | You should always opt for train if the travel by this mean of transportation is less than 6h. Refer to the International Environmental Travel Guidance for further details.
| 20 | Medium | Privilege regional rather than global meetings | If organizing an international meeting, rather think of working in regional hubs, rather than globally, which would require asking attendees from remote locations to fly.
| 21 | Medium | Promoting 'green' transport for commuting | If your PS country government offers incentives for green transportation means (bike, public transport, e-cars) to work, make sure it's used for the colleagues of your PS. | Taking into account the infrastructure of your country or region and the general acceptance and comfort of the different modes of transportation in that area, encourage the MT of your PS to promote the below means of commuting to work and, wherever foreseen by local labor law, to provide financial incentives or additional facilities. -> bikes or e-bikes, also shared ones (showers and storage place are important), -> public transportation (bus, train, tram, metro; in some countries the employer can participate in the cost - ask your local HR team about it), -> co-commuting (creating a platform where co-commuters can exchange can facilitate the process).
| 22 | Low | Promoting and facilitating homeworking | This activity should be paired with activities # which ensure access to digital channels of communication. The EIT will help you to calculate CO2 emissions linked to commuting that you can use to further promote the homeworking. | Take into consideration the local level of acceptance of homeworking and the stability of the internet connection.
Promoting environmentally friendly behaviours | 23 | Low | Internal MSF flee market and swapping initiatives | A green team member should scope out a suitable venue and time to host an event where all PS employees are given the opportunity to host a stall for used items swapping or donation. This event should be publicised by the Green Team via emails, all-hands calls or posters.
| 24 | Low | Proposing repairs in the office | Partner section employees should have access to a online or physical reporting noticeboard where they are able to report proposed repairs for the building fabric, the building MEP systems or the building equipment. These notices could allow for a proactive approach to maintenance, helping to extend the lifetime of assets, thereby reducing the need for wholescale replacements. These replacements are a source of embodied carbon.
| 25 | Low | Improving IT habits/policy | Make sure that your PS prioritizes the digitisation of documentation and the digital communication channels. Computer prompts could also be used that remind users to fully shutdown computers at the close of a day, thereby avoiding energy consumption in sleeping devices. Dedicated e-mail signature templates reminding of: decreasing printing, switching off IT equipment and general commitment to reducing MSF carbon emissions by 50% by 2030 can be created and distributed. | You can find the sustainability criteria for the data centers, server rooms and cloud services on this SP site https://msfintl.sharepoint.com/sites/ClimateSmartMSF/Lists/Services/AllItems.aspx?viewid=c78c603b%2De07f%2D4686%2D9cb3%2D8efc78838e1d

## EDUCATION&TRAINING
STRATEGIC GOAL | ACTION ID # | PROPOSED PRIORITY | SPECIFIC MITIGATION ACTION | Implementation Guidance | Europe | Latin America | North America | Africa | South Asia (e.g. New Delhi) | East Asia (e.g. Hong Kong & Tokyo) | Australasia (e.g. Sydney)
Trainings | 26 | Medium | Environmental sustainability trainings as part of the L&D package | Share the Climate and Environmental Health and Mitigation training and related Training of Trainers (ToT) package and facilitate other existing environmental trainings within your PS. Integrate key Climate and Environment Health (CEH) concepts into the existing internal trainings' programs whenever possible. | Link to the Climate and Environmental Health and Mitigation training and related Training of Trainers (ToT) package - https://msfintl.sharepoint.com/sites/GRP-GVA-ClimateSmartTIC/Shared%20Documents/Forms/AllItems.aspx?csf=1&web=1&e=ArYmrA&cid=04224d76%2Dafa2%2D4b9c%2Dbd3c%2Dbd447446fe70&FolderCTID=0x012000C45264D280F40F47808F34F9E035A33C&id=%2Fsites%2FGRP%2DGVA%2DClimateSmartTIC%2FShared%20Documents%2FGeneral%2F09%2E%20Climate%20Smart%20Education%2FMitigation%20and%20Training%2FWorkshop%20Package%2D%20to%20Print&viewid=ebc6b4f8%2D77a1%2D46a4%2Db0b1%2D8ccfba808272
| 27 | Medium | Trainings for the Green team on change management and sustainability | Participate to the Climate and Environmental Health and Mitigation Training of Trainer organized by other climate & environment actors. As part of the GreenTeam, privilege internal MSF trainings on change management and sustainability to equip yourself for your job. Participate to the Green Team Community of Practice (CoP) for horizontal knowledge sharing with other PSs. | You can join MSF-wide Change Management CoP - https://engage.cloud.microsoft/main/org/msf.org/groups/eyJfdHlwZSI6Ikdyb3VwIiwiaWQiOiI1OTU3
| 28 | Medium | Host one training or education event (bi-) monthly | Either participate and invite your colleagues to the CEH CoP or host a monthly webinar that highlights key climate topics. This session could have guest 'spotlights' that highlight successful implementation of actions. These spotlights can be given by colleagues in that PS or guest presentations from other PSs. This can showcase best practice, lessons learnt and enable cross-section learning and development. | Link to the Climate and Environmental Health and Mitigation training and related Training of Trainers (ToT) package - https://msfintl.sharepoint.com/sites/GRP-GVA-ClimateSmartTIC/Shared%20Documents/Forms/AllItems.aspx?csf=1&web=1&e=ArYmrA&cid=04224d76%2Dafa2%2D4b9c%2Dbd3c%2Dbd447446fe70&FolderCTID=0x012000C45264D280F40F47808F34F9E035A33C&id=%2Fsites%2FGRP%2DGVA%2DClimateSmartTIC%2FShared%20Documents%2FGeneral%2F09%2E%20Climate%20Smart%20Education%2FMitigation%20and%20Training%2FWorkshop%20Package%2D%20to%20Print&viewid=ebc6b4f8%2D77a1%2D46a4%2Db0b1%2D8ccfba808272 You can join MSF-wide Change Management CoP - https://engage.cloud.microsoft/main/org/msf.org/groups/eyJfdHlwZSI6Ikdyb3VwIiwiaWQiOiI1OTU3OTUyMzA3MiJ9/all?domainRedirect=true Link to the Green Team CoP - https://msfintl.sharepoint.com/sites/grp-msf-officegreenteams
Engagement | 29 | Low | Engage volunteers on climate actions | The Green Team can engage a small group of trusted volunteers to support the implementation of selected climate actions. It is important that these volunteers are selected from across the PS and don’t just focus on one area specifically. This will facilitate success and progress across all climate actions in a consistent manner.
| 30 | Low | Climate (Change) and Environment week | Climate (Change) and Environment Week can be tailored to the regional or local context. Some advice include: - Align dates with regional Climate Week or MSF-wide Green Day (for dates, check the Climate Smart SharePoint), - Plan and host educational and awareness raising events in that week that highlight key climate topics that are relevant to MSF (use the existing resources), - Invite internal or external speakers and experts to provide technical sessions that provide insights from outside MSF, - share environmnetal brightspots or best practices, - encourage avoiding single use plastic that week, - promote green commuting. | Climate Week 2024 in Barcelona - a Global Conference on Climate Change & Sustainability in October. | Latin America and the Caribbean Climate Week (LACCW 2023) was held in Panama City. This event is sponsored by UN Climate Change. Regional Climate Weeks (RCWs) are held in this region. All RCWs are unfortunately put on hold for 2024 due to resource constraints. | Climate Week NYC is an annual programme of events and activities. More information can be found here: https://www.climateweeknyc.org/ In Canada, environmental awareness is at the forefront during Canadian Environment Week. More information can be found here: https://www.canada.ca/en/environment-climate-change/services/canadian-environment-week.html | Africa Climate Week (ACW 2023) was held in Nairobi. This event is sponsored by UN Climate Change. Regional Climate Weeks (RCWs) are held in this region. All RCWs are unfortunately put on hold for 2024 due to resource constraints. | Asia-Pacific Climate Week (APCW 2023) was held in Johot Bahru, Malaysia. This event is sponsored by UN Climate Change. Regional Climate Weeks (RCWs) are held in this region. All RCWs are unfortunately put on hold for 2024 due to resource constraints. | Asia-Pacific Climate Week (APCW 2023) was held in Johot Bahru, Malaysia. This event is sponsored by UN Climate Change. Regional Climate Weeks (RCWs) are held in this region. All RCWs are unfortunately put on hold for 2024 due to resource constraints. | Asia-Pacific Climate Week (APCW 2023) was held in Johot Bahru, Malaysia. This event is sponsored by UN Climate Change. All RCWs are unfortunately put on hold for 2024 due to resource constraints. https://unfccc.int/climate-action/regional-climate-weeks#2024 Climate Action Week in Sydney: https://www.caw.sydney/
| 31 | Low | Participation in external 'green' events | Identify external event/conferences/working groups that the decarbonisation agenda of the PS, or MSF more broadly, aligns with. Identify how the PS or another entity in MSF can participate, either by just attendance or presenting/hosting stands. The selection of event and the individuals to attend, should consider the actions listed elsewhere in this document that optimise travel for the reduction of GHG emissions. This includes: the promotion of trains over flights, the banning of domestic of short-haul flights, privileging regional rather than global meetings and avoiding face-to-face meetings. | - World Circular Economy Forum - European Climate Summit - Events promoted by the European Environment Agency (https://www.eea.europa.eu/en/newsroom/events) - EU Green Week - Events on circular economy found here https://circulareconomy.europa.eu/platform/en/news-and-events/upcoming-events | - Regional climate events will be promoted on the websites of local organisations such as https://centrobrasilnoclima.org/en/about/, https://www.undp.org/es/argentina, etc. - COP 30 | - NY Climate Advocacy Project https://www.nyclimate.org/campaigns - UPROSE https://www.uprose.org/events/ - New York City Environmental Justice Alliance https://nyc-eja.org/ - Toronto Climate Action Network Events https://www.tcan.ca/events - Carbon Conversations TO https://www.carbonconversationsto.com/take-action | - Climate Champions Events N67https://climatechampions.unfccc.int/events/ - FSD Africa https://fsdafrica.org/newsroom/#events - Climate Action Africa Events https://climateaction.africa/resource/ - South Africa Presidential Climate Committee Events https://www.climatecommission.org.za/events | - New Delhi Sustainability Summit 2024 https://10times.com/sustainability-solutions-summit | - Carbon Neutral Hong Kong Events https://cnsd.gov.hk/en/news-and-events/events/ - Hong Kong Green Building Council Events https://zcrbc.hkgbc.org.hk/events | - Sydney Climate Action Week https://www.caw.sydney/events - Climate Salad events on climate technology and innovation https://www.climatesalad.com/categories/events - University of Sydney environmental forums https://www.sydney.edu.au/sydney-environment-institute/events.html
Sensitization | 32 | Medium | Environmental onboarding | Can be targeted at learning new skills in climate change mitigation (e.g., HVAC system operation), but mainly to raise awareness regarding climate change, its impact, and MSF agency and progress. The job descriptions should already include the environmental notice like the one mentioned in the regionalization section of this table. | Here, you'll find an example of the environmental notice in use by MSF Canada at the moment of preparing this toolkit that you can integrate in your job descriptions. "In line with MSF’s December 2021 pledge to reduce our carbon emissions by 50% by 2030, compared to our 2019 baseline, we encourage everyone to embrace and embed sustainable and climate-friendly practices. Applying a climate and planetary health lens will help us improve our operational impact. Facing climate change and environmental degradation through our operational activities by focusing on mitigation and adaptation will decrease our dependency on fossil fuels, reduce our ecological footprint and help protect human health. Everyone, at all levels, with all skill sets is needed to address the global threat of climate change."
| 33 | Medium | Including climate-related topics in top presentations and publications | Through onboarding and training, articulate the need to consider climate impacts in all initiatives, projects, presentations and publications. The aim is to ensure that sustainability makes part of all workstreams and becomes an element of daily routine.
| 34 | High | Change management | In the deployment of new decarbonisation actions, careful change management is necessary to ensure the transition is effective, enduring, and well-received by collaborators. To generate the change required to adapt or transform to new low-carbon practices, it is critical that there is a shared vision and common understanding of what the PS is trying to achieve. You can apply the recommended ADKAR Change Management Framework. | You can join MSF-wide Change Management CoP - https://engage.cloud.microsoft/main/org/msf.org/groups/eyJfdHlwZSI6Ikdyb3VwIiwiaWQiOiI1OTU3OTUyMzA3MiJ9/all?domainRedirect=true

## NETWORK&RELATIONSHIPS
STRATEGIC GOAL | ACTION ID # | PROPOSED PRIORITY | SPECIFIC MITIGATION ACTION | Implementation Guidance | Europe | Latin America | North America | Africa | South Asia (e.g. New Delhi) | East Asia (e.g. Hong Kong & Tokyo) | Australasia (e.g. Sydney)
Information sharing | 35 | Medium | SharePoint environmental knowledge base | You can contribute to the following central SharePoint dedicated to climate & environment (https://msfintl.sharepoint.com/sites/ClimateSmartMSF) by sharing communications, brightspots, events and materials targeting the whole MSF movement. A local SharePoint site can also be created as an internal hub for environmentally-related resources, that all PS members can contribute to. Wherever possible, use links to existing materials, tools and other SharePoint sites.
| 36 | Medium | Regular meetings held by the Green Team with staff to share ideas on climate actions | PSs Green Teams should schedule and chair regular meetings available to all staff on the climate agenda, possibly with quarterly iterations. This would include attendance from the fundraising, HR, advocacy and communication, operational and general management teams. The meetings should include: - Progress updates on the implementation of actions and the GHG emissions reduced - An open forum for all members on new ideas and suggestions on how to improve the existing climate actions - Notices informing members of forthcoming climate actions - Recent news headlines in the climate space of the humanitarian sector for sensitivisation purposes. If a PS has identified 'green ambassadors', those should for sure attend those meetings, share and disseminate new information as well as bring ideas/concerns/etc. from their teams.
| 37 | Medium | E-mail updates from the Green Team on initiatives and progress | The Green Team should develop newsletters and intranet updates to keep employees informed on climate initiatives and progress inside the PS and from other MSF climate actors. Prompts for office behavioural change could also be circulated through email updates. Allow for opting-out from the newsletter to avoid unnecessary CO2 emissions.
| 38 | Low | Use expertise of MSF Association members and of their networks | The Green Team of each PS should seek to leverage the experience and expertise that may exist in their linked MSF association in enacting climate actions. The body of current or former office or field staff in the association may have valuable perspectives and insights on how to approach, implement, manage and engage buy-in for climate mitigation initiatives through work both within and outside of the movement.
| 39 | Low | In-person updates during office meetings by the Green Team | To keep employees regularly informed on current and forthcoming decarbonisation actions, a small segment of regular PS office meetings should be reserved for updates from the Green Team. This will provide more regular opportunities to publicise new policy, guidelines, and training and engagement opportunities.
Community building | 40 | High | Introducing the Green Team and their responsibilities during in-house meetings | A single dedicated meeting should be scheduled within each PS to provide a briefing for all PS members/collaborators on the Green Team. This should include: - Background on the purpose of the Green Team, including context on the climate mitigation challenge in the humanitarian sector and MSF, the mission statement of the Green Team and the vision. - An introduction of the Green Team ambassadors within the PS. - An overview of the Green Team governance, including the selection and rotation of ambassadors and the purpose and frequency of Green Team office meetings. - An overview of the progress of climate actions currently enacted and plans for the implementation of new actions.
| 41 | Medium | Work with Green Teams movement-wide | Participate to the Green Teams SharePoint (https://msfintl.sharepoint.com/sites/grp-msf-officegreenteams) and the meetings organized regularly for its Community of Practice.
| 42 | Medium | Introducing Green Ambassadors / Climate Focal Points to different PS teams | In order to gauge a smoother buy-in of the proposed changes by different PS teams, first, establish a network of ambassadors, being people already convinced of the importance of decarbonization, that can help to deploy different mitigation actions in their respective teams. On the other hand, those people can also bring valuable feedbacks to the Green Team and MT of the PS.
| 43 | High | Engaging senior management | Using the key messages from this toolkit, especially the 2021 environmental commitment, and any other information and materials shared by the Climate & Environment actors, engage your PS senior management in the climate debate and actions. Make a clear ask for leading by example in areas such as travel, sustainable procurement and office practices. Foster collaborative decision making. Formulate a taskforce of selected Green Team leaders and senior leaders to oversee progress in climate initiatives within PSs, helping to embed the consideration of the decarbonisation issues in senior leadership decision making, thereby leveraging their influence. This would foster a culture of participative leadership where senior leaders actively contribute to and support sustainability efforts.
External capacity | 44 | Low | Look for external, corporate partnerships | Identify and evaluate partners - Partnerships could be established at a PS, Association, OC or movement level. Map out priority goals from a potential partnership, whether it is to identify common goals, leverage expertise, share resources, implement joint initiatives, or lead advocacy efforts. It is also critical to assess the values of the potential partners at this stage. Prioritize possible regional or global partnerships. Develop partnership agreements - Once an partner has been identified, collaboratively develop the terms and conditions of the partnership, including roles, responsibilities, resource commitments, and timelines. Post-agreement, set up governance structures to manage the partnership, including steering committees, regular meetings, and communication protocols. | In the European region, a focus should be made on partnerships targeting renewable energy generation and small-scale energy projects. Potential partners include: - IKEA Foundation - Ashoka, for Nordic changemakers - Carbon Trust - Ellen Macarthur Foundation - Health Care Without Harm - Climate Emergency Collaboration Group (for Philanthropies) - Climate Partnerships 2030 (Denmark) | Recommended partnerships in the LatAm region could be around waste management, and agribusiness for sustainable catering. Potential partners include: - Aid Environment, who aim to eliminate deforestation in Latin America - AVSI, working to strengthen rural populations to fight climate change - Climate Action Network Latinoamerica (https://www.canla.org/) - Climate Emergency Collaboration Group (for Philanthropies) - Climate-KIC | In North America, corporate partnerships are beneficial in achieving a higher proportion of renewable energy, or green tech. Potential partners include: - Climate Emergency Collaboration Group (for Philanthropies) - IETA (organiser of the North America Climate Summit) - 1PointFive | Potentially beneficial corporate partnerships in Africa may include those focused on inclusion and equity in hiring practices, small-scale renewable energy generation, and waste management. Potential partners include: - The African Climate Foundation - Aid Environment - Clean Cooling Collaborative - Climate-KIC | Corporate partnerships in New Delhi should be focused on improving waste management and reducing air pollution. Potential partners include: - Climate Action Network South Asia (https://cansouthasia.net/our-work/climate-resilience/) - Climate-KIC | Corporate partnerships in Hong Kong and Tokyo can be focused on green technology and innovation. Potential partners include: - Philantrophy Asia Alliance - Japan Climate Initiative | In Sydney, it is recommended to explore corporate partnerships with prominent waste management companies or sustainable water management. Potential partners include: - Climate Action Network Australia (https://www.cana.net.au/) - Climate Emergency Collaboration Group (for Philanthropies)
| 45 | Low | Outsourcing some of the climate actions requiring expertise | Some examples of actions that may be outsourced are: - Energy efficiency actions (Actions #1-8), - Calculating a carbon footprint, - Creation of training and sensitization materials, - Performing audits | Costs incurred for consultancies can be high, and so MSF partners sections can evaluate the availability of pro-bono work. - Arup (offices in Denmark, Germany, Ireland, Italy, Netherlands, Poland, Serbia, Spain, UK). - Carbon Trust (UK) - etc. | Sustainability consulting is available in the Latin America region, although initial costs may be higher. MSF partners sections can evaluate the availability of pro-bono work. - Anthesis - Arup (Colombia) - etc. | Sustainability consulting is popular in North America, with many major consulting groups having offices in either/both NYC and Toronto. - Arup - Carbon Trust - Jacobs - etc. | Sustainability consultants are not as widely available in Africa, but many multinationals have set up regional offices. Additionally, various local consultancies exist that can offer similar services. - Arup (Cape Town and Nairobi office) - Carbon Conscious Consulting (South Africa) - Brundtland (South Africa) - etc. | Hiring local sustainability consultants is recommended in New Delhi, such that they understand regional context and characteristics. - Nangia & Co. - Arup (Delhi, Hyderabad, Mumbai offices) - etc. | Sustainability consulting is readily available in East Asia, and many multinational corporations can offer advice based on local contexts. - Arup (Tokyo and Hong Kong offices) - Alaya Consulting - Urban Green Consultants - etc. | Sustainability consulting is popular in Australasia, with many major consulting groups and local consultancies having offices in the city. - Arup (Sydney) - Pure Environment - Perspektiv - etc.
| 46 | Low | Environmental statements on external website | Seek for your local communication team guidance on external communication.

## STRATEGY&GOVERNANCE
STRATEGIC GOAL | ACTION ID # | PROPOSED PRIORITY | SPECIFIC MITIGATION ACTION | Implementation Guidance | Europe | Latin America | North America | Africa | South Asia (e.g. New Delhi) | East Asia (e.g. Hong Kong & Tokyo) | Australasia (e.g. Sydney)
Internal governance | 47 | Low | Updating climate roadmap | Don't forget to update your PS roadmap every other year to adjust it to the changing environment, priorities, needs and resources.
| 48 | Low | Preparing climate stakeholders' mapping | The PS Green Team can develop a stakeholder map of internal and external actors in order to understand the varying levels of influence and interest in GHG reduction activities and to, therefore, engage them appropriately.
| 49 | High | Creating and Clarifying the Mandate and Responsibilities of a Green Team | If the Green Team does not exist at the moment of creating the roadmap or if its mandate is not clear, make sure those actions are taken as soon as possible. It's important that the Green Team is recognized by the collegues and that people know which subjects they can discuss with its members.
| 50 | High | Hiring a Climate Focal Point | Each PS should consider hiring a dedicated Climate Focal Point person, the responsibility of whom would be to calculate and follow up on the carbon emissions of the PS, represent the Green Team at high-level meetings, lead on collaboration with other climate stakeholders internally and externally. Each PS needs to decide if this position requires a full FTE commitment or less. This can be also a rotating role in the Green Team.
Improving internal policies, protocols and guidelines | 51 | Medium | Introducing a Sustainable Procurement Policy | Please refer to the: ->Global Procurement Policy ->Suppliers Assessment Guidelines ->Articles' Sustainability Criteria resources All available on this SharePoint https://msfintl.sharepoint.com/sites/ClimateSmartMSF/SitePages/Supply-Chain.aspx
| 52 | High | Including environmental considerations in the Travel Policy | Make sure that your PS follows the MSF International Travel Policy that includes already the environmental criteria. | You'll find the MSF International Travel Policy at: https://msfintl.sharepoint.com/sites/ClimateSmartMSF/SiteAssets/Forms/AllItems.aspx?id=%2Fsites%2FClimateSmartMSF%2FSiteAssets%2FSitePages%2FEnergy%2DTransition%2FMSF%2DInternational%2D%2D%2DTravel%2DPolicy%2Epdf&parent=%2Fsites%2FClimateSmartMSF%2FSiteAssets%2FSitePages%2FEnergy%2DTransition
Monitoring and reporting | 53 | High | Travel reporting | Use the existing travel reporting tool or financial proxies to gather data necessary to calculate travel associated carbon emissions. Then, use the common methodology on carbon footprint calculation and the Environmental Impact Toolkit, EIT, to report on your travel related carbon emissions.
| 54 | High | Having an annual Plan for Green Team each year | Assuming that your PS has a Green Team, there is a need to prioritise the actions to be taken to decarbonise the PS GHG emissions. This should be underpinned by a GHG emissions baseline calculation that highlights the emissions hotspots. Once the greatest sources of emissions have been identified, actions from this list included within the roadmap should be selected that mitigate those emissions. This decision should consider the possible impact of decarbonisation as well as costs and feasibility.
| 55 | High | Introducing carbon accounting | Where a PS climate Focal Point has been hired, they should be responsible for the carbon data collection, footprint calculation and reporting, all making part of the carbon accounting. Otherwise, the PS can seek support of the Carbon IMs’ Support. The calculation of the carbon footprint of the PS should follow the common methodology on carbon footprint calculation and use of the Environmental Impact Toolkit (EIT - https://msfintl.sharepoint.com/sites/ClimateSmartMSF/Shared%20Documents/Forms/AllItems.aspx?FolderCTID=0x01200075D19B522E144A47B4EC5D8C54AB4A01&id=%2Fsites%2FClimateSmartMSF%2FShared%20Documents%2FBaselining%2FEnvironmental%20Impact%20Toolkit%2F3%2E%20Carbon%20Emissions%20Tool). The use of this common methodology and tool ensures that entities across MSF measure and aggregate data in a manner that is comparable across the movement. In following this approach PSs should ensure that emissions are not double counted between themselves and OCs. | European Union regulations such as the Corporate Sustainability Reporting Directive (CSDR) require large companies (more than 500 employees) to disclose their carbon emissions. Regulation on carbon accounting is specifically advanced in the European region. Regional and international carbon accounting frameworks to consider include: GHG Protocol Corporate Guidance, ISSB Sustainability Disclosure Standard, European Environment Agency, ESRS, TCFD, GRI. | Relevant frameworks to consider in Latin America are the GHG Protocol. Other wider sustainability reporting guidelines include: TCFD, GRI. | Regionally, carbon accounting is becoming mandatory for large companies. Carbon accounting should follow the GHG Protocol Guidance. Other wider sustainability reporting guidelines include: TCFD, GRI. | Relevant frameworks to consider include the GHG Protocol. Mandatory disclosure of carbon footprint is not prevalent in Africa, but the introduction of carbon accounting opens the Partner Sections up to explore carbon reduction efforts that can be traded in the African Carbon Markets Initiative. | Carbon accounting regulations are not readily available in South Asia. Similar to other regions, the best standard is the GHG Protocol. Other wider sustainability reporting guidelines include: TCFD, GRI. | Stringent carbon accounting regulations are becoming more popular in East Asia and the wider Asia Pacific. In China, listed companies are encouraged to report ESG information. No official mandatory adoption of the ISSB standards has been announced, but is expected in the future. It is therefore recommended that PSs anticipate these regulatory changes by starting carbon accounting. Best practice includes the GHG Protocol covering. | In Australasia, mandatory carbon reporting is anticipated, although not currently instated. The Australian Accounting Standards Board has issued a draft framework for climate reporting in October of 2023. Priority should be given to reporting Scope 1 and 2. Similar to other regions, the best standard is the GHG Protocol. Other wider sustainability reporting guidelines include: TCFD, GRI.
| 56 | High | Introducing abatement curves related to the roadmap | To introduce abatement curves related to the decarbonisation roadmap, a dedicated PS employee or an external consultant with expertise in this area should seek advice in the Mutual Accountability Framework documentation that provides overall vision, MSF-wide targets and indicators of achievement. Carbon savings and associated costs for each proposed action should be taken into account. The abatement curves should be regularly updated to reflect progress and new opportunities. | Mutual Accountability Framework - https://msfintl.sharepoint.com/sites/ClimateSmartMSF/SitePages/Roadmap-BaU.aspx
| 57 | Low | Environmental dashboard | If you feel it can be useful, beside using the templates and tools provided via this toolkit, you can also create your PS internal climate dashboard that will track climate actions and progress. There is currently no template for this activity but a SharePoint task list or MS Planner can be used to create it without the fuss of licenced accesses.
| 58 | High | Informing MT and Board on the progress on KPIs related to footprint | To keep the management team and board informed on thereport on the impacts of the implemented mitigation actions, establish a regular reporting schedule (e.g., monthly or quarterly). Prepare concise, data-driven reports with visual aids like charts and graphs to highlight key metrics. Provide context and analysis to explain significant changes, and offer actionable insights and recommendations. If progress does not align with the proposed timelines and targets, metrics and KPIs, then steps should be agreed to further support the delivery of the action. This approach ensures leadership remains well-informed, engaged, and aligned with the organization’s sustainability goals. This responsibility could be taken by a climate Focal Point or another member of the Green Team.